## Slide 1: Computed Tomography (CT)
Dr. Rafiqul Islam
CSE Dept, DUET

## Slide 2: Introduction
CT Acquisition
  A single transmission measurement through the patient made by a single detector at a given moment in time is called ray.
  A series of rays that pass through the patient at the same orientation is called projection.

## Slide 3: Introduction
Types of Projection
  Parallel beam geometry- in which all of the rays in a projection are parallel to each other.
  Fan beam geometry – the rays at a given projection angle diverge and have the appearance of a fan.
All modern CT scanners incorporate fan beam geometry in the acquisition and reconstruction process.

## Slide 4: Introduction
(a) Parallel beam projection (b) fan beam projection

## Slide 5: CT: First Projection

## Slide 6: Rotate and Take Another Projection

## Slide 7: Rotate and Take Another Projection

## Slide 8: This is called a sinogram

## Slide 9: This is called a sinogram
Sinogram

## Slide 10: This is called a sinogram
Sinogram

## Slide 11: This is called a sinogram
Sinogram

## Slide 12: This is called a sinogram
Sinogram

## Slide 13: This is called a sinogram
Sinogram

## Slide 14: This is called a sinogram
Sinogram

## Slide 15: This is called a sinogram
Sinogram

## Slide 16: This is called a sinogram
Sinogram

## Slide 17
Sinogram
This is called a sinogram

## Slide 18: This is called a sinogram
Sinogram

## Slide 19: This is called a sinogram
Sinogram

## Slide 20: This is called a sinogram
Sinogram

## Slide 21: This is called a sinogram
Sinogram

## Slide 22: This is called a sinogram
Sinogram

## Slide 23: This is called a sinogram
Sinogram

## Slide 24: This is called a sinogram
Sinogram

## Slide 25: This is called a sinogram
The sinogram is what is measured by a CT machine.

## Slide 26: Radon Transform
Given
and
In CT we measure
and need to find
using

## Slide 27: Radon Transform
In CT we measure
and need to find
We use

## Slide 28: Reconstruction: Back Projection
Step #1: Generate a complete an image for each projection (e.g. for each angle q)
Step #2: Add all the back projected images together
These are called back projected images

## Slide 29: Reconstruction: Back Projection
Kind of worked but we need to do better than this. Need to come up with a better reconstruction algorithm.
Original object
Reconstructed object

## Slide 30: Reconstruction: Back projection
A little trick that almost works!
Object

## Slide 31: Reconstruction: Back projection
Object
We do this for every angle and then add together all the back projected images

## Slide 32: Reconstruction: Back projection
We know that objects are somewhere here in black stripes, but where?

## Slide 33: Reconstruction: Back projection

## Slide 34
Given are sums, we have to reconstruct values of pixels A, B, C and D
Reconstruction: Back projection

## Slide 35: Reconstruction: ART

## Slide 36
METHOD: Algebraic Reconstruction Technique
  iterative technique
  attributed to Gordon
Reconstructed model
Actual Data Slices
Projection
Back- Projection
Initial Guess
Reconstruction: ART
Notes: 36

## Slide 37
METHOD: Filtered Back Projection
  common method
  uses Radon transform and Fourier Slice Theorem
f(x,y)
f
y
x
s
gf(s)
Gf(r)
u
F(u,v)
Spatial Domain
Frequency Domain
Reconstruction: Filtered Back Projection

## Slide 38
This always works!
Object
Digital Filter
take 1D FFT of projection
multiply by ramp filter
take 1D inverse FFT
make a back projection
Reconstruction: Filtered Back Projection

## Slide 39
Always works!
Object
Digital Filter
take 1D FFT of projection
multiply by ramp filter
take 1D inverse FFT
make a back projection
Reconstruction: Filtered Back Projection

## Slide 40
Always works!
Object
Digital Filter
take 1D FFT of projection
multiply by ramp filter
take 1D inverse FFT
make a back projection
We do this for every angle and then add together all the filtered back projected images
Reconstruction: Filtered Back Projection

## Slide 41
Computationally cheap
Clinically usually 500 projections per slice
problematic for noisy projections
Still slow
better quality for fewer projections
better quality for non-uniform project.
“guided” reconstruct. (initial guess!)
FBP
ART
Algebraic Reconstruction Technique
Filtered Back Projection
Comparison: ART Vs FBP
Notes: 41

## Slide 42: CT Reconstruction: Matlab
Radon Transform and a Head Phantom

## Slide 43: CT Reconstruction: Matlab

## Slide 44: CT Reconstruction: Matlab
Reconstructing with more and more rays

## Slide 45: CT Reconstruction: Matlab
(From Matlab Image Processing Toolbox Documentation)
[Y-axis] distance, [X-axis] angle

## Slide 46: CT Reconstruction: Matlab

## Slide 47: CT Reconstruction: Matlab

## Slide 48: CT Reconstruction: Matlab
No noise
big noise

## Slide 49: Thank you
Questions?